## Sheet1
Network Operator: |  | Rotorua Lakes Council
Number of overflows to water in reporting period |  |  | 34
Number of overflows to land in reporting period |  |  | 75
Total |  |  | 109
Date | Location name/Address | Assets involved | Cause | Weather conditions | Ultimate receiving environment
2019-07-03 16:30 | RUSSELL RD | Gully trap and main | Blockage in lateral and slumping of main | Wet | Land
2019-07-05 10:00 | PUKUATUA ST | Gully trap | Heavy rain | Wet | Land
2019-07-06 15:50 | GEM ST | Manhole | Blockage of fat and wipes | Dry | Land
2019-07-13 08:42 | CLAYTON RD | Gully trap | Blockage in the main | Dry | Land
2019-07-17 11:45 | WILLOW AVE Public Toilet | Gully trap | Blockage | Wet | Land
2019-07-18 12:00 | PETRIE ST | Manhole | Blockage | Dry | Land
2019-07-20 11:40 | HINEMARU ST | Rising main valve | Faulty gibault | Dry | Water - SW network to gross pollutant trap - Lake Rotorua
2019-07-22 16:00 | DEVON ST/MANUKA CS | Manhole and cess pits | Blockage due to root intrusion | Dry | Water - SW drain
2019-07-23 16:56 | BELLVUE RD | Gully traps | Blockage of fat and rags in the main | Dry | Water - SW drain to Waiwhiro Stream
2019-07-27 12:25 | GALLAGHER ST | Manhole on rising main | Tree root intrusion | Dry | Land
2019-07-31 13:20 | AMOHAU ST | Manhole and cess pits | Blockage | Wet | Land
2019-08-11 10:45 | HOLDEN AVE | Manhole and gully traps | Blockage of large amount of fat and wipes | Wet | Land
2019-08-14 10:07 | KOUTU RD | Manhole | Blockage | Dry | Land
2019-08-19 12:40 | EDMUND RD | Manhole | Blockage | Wet | Water - tributary of Mangakakahi Stream
2019-08-25 16:40 | PANDORA AVE | Manhole and gully traps | Blockage due to root intrusion | Dry | Land
2019-08-27 10:30 | GREY ST | Gully traps | Blockage in the main | Dry | Land
2019-09-03 13:48 | HYLAND CS | Manhole | Blockage of fat | Dry | Land
2019-09-04 14:15 | FAIRVIEW RD | Gully trap | Blockage | Wet | Land
2019-09-05 22:27 | BELLINGHAM CS | Manhole | Blockage | Wet | Land
2019-09-08 14:45 | ALISON ST | Manhole | Blockage in the main | Wet | Water - SW drain to Mangakakahi Stream
2019-09-10 12:30 | LEE RD | Manhole | Blockage in the main | Wet | Land
2019-09-11 12:50 | HATHOR ST | Manhole | Blockage of large amount of fat | Dry | Land
2019-09-13 11:40 | AMIES RD | Manhole | Blockage | Dry | Land
2019-09-13 09:30 | ALISON ST | Manhole | Blockage of fat | Dry | Water - SW drain to Mangakakahi Stream
2019-09-18 12:51 | ELIZABETH ST | Manhole | Blockage | Dry | Land
2019-09-20 10:20 | MONCUR DR | Manhole | Blockage due to root intrusion | Dry | Land
2019-09-26 14:30 | LISA CS | Gully trap | Blockage | Wet | Land
2019-09-30 09:06 | GALLAGHER ST | Manhole | Blockage | Wet | Water - tributary of Utuhina Stream
2019-10-04 09:15 | TAHARANGI ST | Lateral and gully trap | Blockage in lateral | Dry | Land
2019-10-15 13:36 | TAREWA PL | Manhole | Blockage due to root intrusion | Wet | Land
2019-10-24 17:20 | SIMMONDS CS | Lateral | Thrusted lateral | Dry | Land
2019-11-04 20:11 | YORK ST | Manhole and gully trap | Blockage of children's toy, timber and 20 L bottle | Dry | Land
2019-11-29 09:40 | HONA RD | Pump Station | Pump Failure | Dry | Water - Puarenga Stream
2019-12-02 11:00 | RIRI ST | Manhole | Blockage of fat, rags, and broken hanching | Wet | Water - Mangakakahi Stream
2019-12-19 15:20 | GOLDIE ST | Manhole | Blockage due to root intrusion | Dry | Land
2020-01-03 10:49 | AMIES RD | Manhole | Fat build up | Dry | Land
2020-01-16 13:05 | NGATAI AVE | Manhole | Blockage | Dry | Land
2020-01-17 07:49 | GOLDIE ST | Manhole | Blockage | Dry | Water - Mangakakahi Stream
2020-02-07 09:00 | THOMAS CS | Gully trap | Blockage in the main | Dry | Land
2020-02-08 10:45 | QUEENS DR - SULPHUR POINT TOILET BLOCK | Pump Station |  | Dry | Land
2020-02-14 09:20 | GOLDIE ST | Manhole and pipe bridge | Blockage in manhole and broken pipe crossing stream | Dry | Water - Mangakakahi
2020-02-20 03:00 | PUKUATUA ST | Manhole and gully traps | Blockage | Dry | Land
2020-02-27 10:20 | ORION ST | Manhole | Blockage | Wet | Land
2020-03-16 17:45 | EDMUND RD | Gully trap | Blockage of fat in the main | D | Land
2020-03-22 13:02 | MATAHAERE RD | Gully trap | Blockage in the main | Wet | Land
2020-03-27 11:30 | JOHN RD | Lateral and gully trap | Blockage in lateral | Wet | Land
2020-04-02 13:41 | SCOTT AVE | Manhole | Blockage | Dry | Land
2020-04-11 20:18 | ALISON ST | Manhole | Blockage of wipes | Dry | Land
2020-04-14 09:44 | ALISON ST | Manhole | Blockage | Wet | Water - Mangakakahi Stream
2020-05-03 11:41 | TAHARANGI ST | Lateral | Blockage | Wet | Land
2020-05-04 10:08 | GOLDIE ST | Manhole | Blockage | Wet | Water - Mangakakahi Stream
2020-05-14 21:05 | MAISEY PL | Manhole | Blockage | Dry | Water - SW drain to Waiowhiro Stream
2020-05-23 19:55 | UTUHINA RD | Manhole and gully trap | Blockage | Dry | Land
2020-06-03 13:26 | ALISON ST | Manhole | Blockage | Wet | Water - SW drain to Mangakakahi Stream
2020-06-19 17:27 | VIEW RD | Manhole | Blockage | Wet | Land
2020-06-22 13:17 | SALA ST | Manhole | Blockage | Dry | Land
2020-07-10 09:30 | BELLVUE ROAD | Manhole and gully trap | Blockage in the main | Dry | Land
2020-07-23 21:09 | MAISEY PLACE TUI ROAD | Manhole | Blockage of fat and concrete haunching in the main | Dry | Water - SW network to Waiowhero Stream
2020-08-17 | CHAPMAN PLACE | Gully trap | Blockage in the main | Dry | Land - close proximity to water
2020-08-23 09:50 | LEE ROAD | Manhole and gully trap | Blockage | Wet | Land
2020-08-25 15:00 | S HWAY 30 RLC LANDFILL | Rising main |  | Wet | Land
2020-08-26 10:30 | GOLDIE STREET | Manhole | Blockage of rags in the main | Wet | Water - Mangakakahi Stream
2020-08-28 15:45 | ALLEN MILLS ROAD | Inspection manhole | Blockage of lateral | Dry | Land
2020-09-02 11:04 | MALFROY ROAD | Manhole | Blockage of roots and paper/rags in the main | Dry | Water - Utuhina Stream
2020-09-07 21:40 | CARROLL PLACE | Manhole | Blockage of fat in the main | Wet | Land
2020-09-08 13:27 | COLLIE DRIVE | Manhole | Blockage of concrete haunching in the main | Dry | Water - SW network to Mangakakahi Stream
2020-10-19 | HELENA PLACE | Manhole | Blockage in the main | Wet | Water - SW network to Otamatea Stream
2020-10-27 08:31 | HOMEDALE STREET | Manhole | Blockage and broken haunching and PVC pipe in chamber | Dry | Land
2020-10-27 15:21 | ROBINSON AVENUE | Manhole and gully trap | Blockage of roots in manhole | Dry | Land
2020-11-02 16:33 | FORD ROAD | Manhole and gully trap | Blockage | Dry | Land
2020-11-10 | ROTORUA WWTP | Wastewater Treatment Plant | Storm event and lightning strikes leading to multiple power outages and VSD failures | Wet | Water - SW network to Lake Rotorua
2020-11-20 08:36 | GRAND VUE ROAD | Manhole | Blockage | Dry | Land
2020-11-23 11:08 | MOREY STREET | Manhole | Blockage of broken concrete haunching. | Dry | Land
2020-11-25 04:19 | ERUERA STREET | Manhole | Blockage and heavy rain | Wet | Land
2020-12-08 20:20 | TUI ROAD | Manhole | Blockage | Wet | Water - SW network
2020-12-15 16:08 | WRIGLEY ROAD | Lateral | Thrusted lateral | Dry | Land
2021-01-04 16:48 | AMUN PLACE | Manhole | No issue noted when inspected. | Wet | Water - SW network
2021-01-06 11:36 | TORU STREET | Manhole | Blockage | Dry | Land
2021-02-14 12:09 | NGATAI AVENUE | Manhole | Blockage | Dry | Land
2021-03-02 19:17 | PARAWAI ROAD | Rising main | Pipe break | Wet | Water
2021-03-15 08:47 | MAHOE STREET | Manhole | Blockage | Dry | Water - SW network
2021-04-01 07:37 | HONA ROAD | Gully traps | Blockage | Dry | Land
2021-04-01 08:18 | TALLYHO STREET | Manhole | Blockage | Dry | Land
2021-04-02 | SPRINGFIELD ROAD | Manhole | Heavy rain event | Dry | Land
2021-04-02 16:11 | ALISON STREET RESERVE | Manhole | Blockage in main | Dry | Water - overflow suspected to have entered SW network during recent heavy rain
2021-04-14 09:16 | OSIRIS STREET | Manhole |  | Wet | Land
2021-05-15 | MATAIAWHEA STREET | Inspection point | Blockage tree roots | Wet | Land
2021-05-15 | HONA ROAD | Pump station |  | Wet | Land
2021-05-21 09:00 | WESTERN ROAD | Manhole | Blockage of fat in the main | Dry | Land
2021-06-02 09:30 | WRIGLEY ROAD | Private lateral and pump station | Blockage at pump station resulting in overflow at property. | Dry | Water - Otamatea Stream
2021-06-08 17:18 | RANOLF STREET | Gully trap | Blockage in main | Dry | Land
2021-06-08 17:53 | LUXOR PLACE | Manhole | Blockage | Dry | Land
2021-06-25 08:33 | GOLDIE STREET | Manhole | Blockage of fat and concrete | Dry | Water - Mangakakahi Stream
2021-07-04 11:56 | RANOLF STREET | Manhole | Blockage of fat in the main | Dry | Land
2021-07-15 12:39 | GOLDIE STREET LINTON PARK | Manhole | Blockage of fat in the main | Dry | Land
2021-07-20 08:18 | MATAIAWHEA STREET | Gully Trap | Blockage of tree roots in the main | Dry | Land
2021-07-24 13:41 | BLOMFIELD ROAD | Manhole | Blockage of fat in the main | Dry | Water - SW network to Mangakakahi Stream
2021-07-31 14:31 | GALLAGHER STREET | Manhole | Blockage | Dry | Land
2021-09-01 08:59 | TANIA CRESCENT | Manhole | Blockage | Dry | Land
2021-09-01 10:10 | DEBORAH PLACE LINTON PARK | Manhole | Blockage of fat | Dry | Water - tributary of the Mangakakahi Stream
2021-09-13 14:55 | FROUDE STREET | Gully Trap | Blockage | Dry | Land
2021-09-24 09:31 | TUPARA CRESCENT | Manhole | Blockage | Dry | Land
2021-10-09 15:46 | WRIGLEY ROAD | Gully trap | Blockage in main caused overflow from gully trap | Dry | Land
2021-10-13 09:32 | HOLDENS AVENUE RESERVE | Rising main pipe bridge | Pipe bridge hit and broken by vehicle | Wet | Land
2021-10-14 09:57 | HINEMOA STREET | Manhole | Failed gibault | Dry | Water - SW network to Lake Rotorua
2021-10-14 16:20 | BURTON PLACE | Manhole | Blockage | Dry | Land
2021-10-18 19:06 | RANGINUI STREET | Manhole and pump station | CPU and float switch failure | Wet | Water - Lake Rotorua
2021-10-23 16:46 | GRAND VUE ROAD | Manhole | Blockage of rags | Dry | Wetland
2021-11-24 15:33 | EASON STREET | Gully Trap | Blockage | Wet | Water - SW network to Lake Rotorua
2022-12-21 08:36 | OLD TAUPO ROAD | Manhole | Blockage | Dry | Land